| {{logo}} | SONIC RESONANCE TEST REPORT Modified ASTM E1875 - Ultrasonic Method |
| --- | --- |

Test Information

| Test Project: | {{test_project}} | Certificate No: | {{certificate_number}} |
| --- | --- | --- | --- |
| Customer: | {{customer}} | Test Date: | {{test_date}} |
| Customer Order: | {{customer_order}} | Test Standard: | {{test_standard}} |
| Product/S/N: | {{product_sn}} | Specimen ID: | {{specimen_id}} |
| Material: | {{material}} | Test Temperature: | {{temperature}} °C |
| Location/Orient.: | {{location_orientation}} | Test Equipment: | {{test_equipment}} |

Specimen Geometry

| Type: | {{specimen_type}} | Diameter (mm): | {{diameter}} | Side (mm): | {{side_length}} |
| --- | --- | --- | --- | --- | --- |
| Length (mm): | {{length}} | Mass (g): | {{mass}} | Density (kg/m³): | {{density}} |

Ultrasonic Velocity Measurements

| Wave Type | V₁ (m/s) | V₂ (m/s) | V₃ (m/s) | Average (m/s) |
| --- | --- | --- | --- | --- |
| Longitudinal (Vl) | {{vl1}} | {{vl2}} | {{vl3}} | {{vl_avg}} |
| Shear (Vs) | {{vs1}} | {{vs2}} | {{vs3}} | {{vs_avg}} |

Test Results

| Parameter | Value | U (k=2) | Unit |
| --- | --- | --- | --- |
| Poisson's Ratio (ν) | {{poissons_ratio}} | {{poissons_ratio_unc}} | - |
| Shear Modulus (G) | {{shear_modulus}} | {{shear_modulus_unc}} | GPa |
| Young's Modulus (E) | {{youngs_modulus}} | {{youngs_modulus_unc}} | GPa |
| Flexural Frequency (ff) | {{flexural_frequency}} | {{flexural_frequency_unc}} | Hz |
| Torsional Frequency (ft) | {{torsional_frequency}} | {{torsional_frequency_unc}} | Hz |
| Validity | {{validity_status}} | - | - |

Velocity Measurements Chart

{{chart}}

Notes

{{validity_notes}}

Approvals

| Tested By: | {{tested_by}} | Reviewed By: | {{reviewed_by}} | Approved By: | {{approved_by}} |
| --- | --- | --- | --- | --- | --- |
| Date: | {{tested_date}} | Date: | {{reviewed_date}} | Date: | {{approved_date}} |

Durabler a part of Subseatec S AB, Address: Durabler C/O Subseatec, Dalavägen 23, 68130 Kristinehamn, SWEDEN