VICKERS HARDNESS TEST REPORT

ASTM E92 / ISO 6507-1

REPORT INFORMATION

| Report Number: | {{report_number}} | Report Date: | {{report_date}} |
| --- | --- | --- | --- |
| Load Level: | {{load_level}} |  |  |

TEST INFORMATION

| Test Project: | {{test_project}} | Customer: | {{customer}} |
| --- | --- | --- | --- |
| Specimen ID: | {{specimen_id}} | Material: | {{material}} |
| Test Date: | {{test_date}} | Operator: | {{operator}} |
| Test Standard: | ASTM E92 | Equipment: | Vickers Hardness Tester |

TEST RESULTS

| Parameter | Value | U (k=2) | Requirement | Unit |
| --- | --- | --- | --- | --- |
| Mean Hardness | {{mean_hardness}} | ± {{uncertainty}} | {{hardness_req}} | {{unit}} |
| Standard Deviation | {{std_dev}} | - | - | {{unit}} |
| Range (Max - Min) | {{range}} | - | - | {{unit}} |
| Minimum Value | {{min_value}} | - | - | {{unit}} |
| Maximum Value | {{max_value}} | - | - | {{unit}} |
| Number of Readings | {{n_readings}} | - | - | - |

UNCERTAINTY BUDGET (ISO 17025 / GUM)

| Source | Type | Value (HV) |
| --- | --- | --- |
| Repeatability (std of mean) | A | {{u_A}} |
| Machine calibration | B | {{u_machine}} |
| Diagonal measurement | B | {{u_diagonal}} |
| Force application | B | {{u_force}} |
| Combined standard uncertainty | - | {{u_combined}} |
| Expanded uncertainty (k={{k}}) | - | {{U_expanded}} |

HARDNESS PROFILE

{{chart}}

INDENT PHOTOGRAPH

{{photo}}

SIGNATURES

|  | Name | Date |
| --- | --- | --- |
| Tested by: |  |  |
| Reviewed by: |  |  |
| Approved by: |  |  |